SVEČILIŠTE U ZAGREBU

PREHRAMBENO-BIOTEHNOLOŠKI FAKULTET

CENTAR ZA KONTROLU NAMIRNICA

FACULTY OF FOOD TECHNOLOGY AND BIOTECHNOLOGY

FOOD CONTROL CENTER

## Jagićeva 31, Zagreb

| Popis ispitnih metoda u fleksibilnom području akreditacije Pesticidi (A), Kontaminanti (B), Arome (C), Hranjive vrijednosti /parametri kvalitete (D) Popis se odnosi na Prilog potvrdi o akreditaciji broj 1110 dostupan na stranici Hrvatske akreditacijske agencije www.akreditacija.hr, datum izdanja priloga 2015-09-18 |  |  |  |
| --- | --- | --- | --- |
| Identifikacijska oznaka/ Identification | Materijali/Proizvodi Materials/Products | Vrsta ispitivanja/svojstvo Type of test/Property Granica kvantifikacije Limit of quantification | Metoda ispitivanja/tehnika Test method/ Technique |
| A1 | Hrana biljnog porijekla Foods of plant origin Voće i povrće s visokim sadržajem vode High Water Content Fruits and Vegetables Voće s visokim sadržajem vode i kiselina, osim citrusa High acid content and high water content fruits, except citrus fruits | Određivanje ostataka pesticida Determination of pesticide residues | HRN EN 15662:2008 (EN 15662:2008) Plinska kromatografija / spektrometrija masa (GC/MS) nakon ekstrakcije / razdiobe acetonitrilom i čišćenja disperzivnom SPE-QuEChERS metodom Gas chromatography-mass spectrometry (GC/MS) following acetonitrile extraction/partitioning and cleanup by dispersive SPE-QuEChERS-method |
|  |  | ≥ 0,01 mg/kg mevinfos, metakrifos, etoprofos, kaduzafos, forat, dimetoat, fonofos, diazinon, disulfoton, formotion, klorpirifos-metil, fenklorfos, pirimifos-metil, malation, klorpirifos, fention, trikloronat, partion etil, trikloronat, pirimifos-etil, pendimetalin, citrodinil, klorfenvinfos, procimidon, metidation, bromofos-etil, tetraklorvinfos, fenamifos, protiofos, sulprofos, triazofos, tebukonazol, iprodinon, fosalon, fenariomol, azinfos etil i kumafos, a-HCH, heksaklorobenzen, b-HCH, g-HCH, d-HCH, heptaklor, aldrin, heptaklor epoksid, g-klordan, a-klordan, endosulfan 1, imazalil, DDE, endrin, endosulfan 2, DDD, endosulfan sulfat, DDT, endrin keton i metoksiklor, bifentrin, fenotrin izomer I, fenotrin izomer II, l-cihalotrin, cis-permetrin, trans-permetrin, cipermetrin izomer I, cipermetrin izomer II, cipermetrin izomer III, cipermetrin izomer IV, flucitrinat izomer I, flucitrinat izomer II, t-fluvalinat izomer I i t-fluvalinat izomer II ≥ 0,02 mg/kg terbufos, malaokson, paration metil, paraokson etil, fenitrotion, bromofos metil, profenofos, etion, azinfos metil, ciflutrin izomer I, ciflutrin izomer II, ciflutrin izomer II, ciflutrin izomer IV, fenvalerat izomer I, fenvalerat izomer II i tetrametrin |  |

| Identifikacijska oznaka/ Identification | Materijali/Proizvodi Materials/Products | Vrsta ispitivanja/svojstvo Type of test/Property Granica kvantifikacije Limit of quantification | Metoda ispitivanja/tehnika Test method/ Technique |
| --- | --- | --- | --- |
| A1 | Hrana biljnog porijekla Foods of plant origin Voće s visokim sadržajem vode i kiselina - citrusi High acid content and high water content fruits Citrus Fruits | Određivanje ostataka pesticida Determination of pesticide residues | HRN EN 15662:2008 (EN 15662:2008) Plinska kromatografija / spektrometrija masa (GC/MS) nakon ekstrakcije / razdiobe acetonitrilom i čišćenja disperzivnom SPE-QuEChERS metodom Gas chromatography-mass spectrometry (GC/MS) following acetonitrile extraction/partitioning and cleanup by dispersive SPE-QuEChERS-method |
|  |  | ≥ 0,01 mg/kg mevinfos, metakrifos, etoprofos, kaduzafos, dimetoat, diazinon, disulfoton, formotion, klorpirifos-metil, pirimifos-metil, malation, klorpirifos, fention, trikloronat, partion etil, trikloronat, pirimifos-etil, pendimetalin, citrodinil, klorfenvinfos, procimidon, metidation, bromofos-etil, tetraklorvinfos, fenamifos, protiofos, sulprofos, triazofos, tebukonazol, iprodinon, fosalon, fenariomol, azinfos etil i kumafos, a-HCH, heksaklorobenzen, b-HCH, g-HCH, d-HCH, heptaklor, aldrin, heptaklor epoksid, g-klordan, a-klordan, endosulfan 1, imazalil, DDE, endrin, endosulfan 2, DDD, endosulfan sulfat, DDT, endrin keton i metoksiklor, bifentrin, fenotrin izomer I, fenotrin izomer II, l-cihalotrin, cis-permetrin, trans-permetrin, cipermetrin izomer I, cipermetrin izomer II, cipermetrin izomer III, cipermetrin izomer IV, flucitrinat izomer I, flucitrinat izomer II, t-fluvalinat izomer I i t-fluvalinat izomer II ≥ 0,02 mg/kg terbufos, paration metil, fenitrotion, bromofos metil, profenofos, etion, ciflutrin izomer I, ciflutrin izomer II, ciflutrin izomer II, ciflutrin izomer IV, fenvalerat izomer I, fenvalerat izomer II i tetrametrin |  |

| Identifikacijska oznaka/ Identification | Materijali/Proizvodi Materials/Products | Vrsta ispitivanja/svojstvo Type of test/Property Granica kvantifikacije Limit of quantification | Metoda ispitivanja/tehnika Test method/ Technique |
| --- | --- | --- | --- |
| A2 | Hrana biljnog porijekla Foods of plant origin Visoki udio škroba i/ili bjelančevina i niski udio vode i masti High starch and/or protein content and low water and fat content Žitarice i proizvodi Cereal grain and products thereof | Određivanje ostataka pesticida Determination of pesticide residues | HRN EN 15662:2008 (EN 15662:2008) Plinska kromatografija / spektrometrija masa (GC/MS) nakon ekstrakcije / razdiobe acetonitrilom i čišćenja disperzivnom SPE-QuEChERS metodom Gas chromatography-mass spectrometry (GC/MS) following acetonitrile extraction/partitioning and cleanup by dispersive SPE-QuEChERS-method |
|  |  | ≥ 0,02 mg/kg mevinfos, metakrifos, etoprofos, kaduzafos, forat, dimetoat, fonofos, diazinon, disulfoton, formotion, klorpirifos-metil, fenklorfos, pirimifos-metil, malation, klorpirifos, fention, trikloronat, partion etil, trikloronat, pirimifos-etil, pendimetalin, citrodinil, klorfenvinfos, procimidon, metidation, bromofos-etil, tetraklorvinfos, fenamifos, protiofos, sulprofos, triazofos, tebufonazol, iprodinon, fosalon, fenariomol, azinfos etil i kumafos, a-HCH, heksaklorobenzen, b-HCH, g-HCH, d-HCH, heptaklor, aldrin, heptaklor epoksid, g-klordan, a-klordan, endosulfan 1, imazalil, DDE, endrin, endosulfan 2, DDD, endosulfan sulfat, DDT, endrin keton i metoksiklor, bifentrin, fenotrin izomer I, fenotrin izomer II, l-cihalotrin, cis-permetrin, trans-permetrin, cipermetrin izomer I, cipermetrin izomer II, cipermetrin izomer III, cipermetrin izomer IV, flucitrinat izomer I, flucitrinat izomer II, t-fluvalinat izomer I i t-fluvalinat izomer II ≥ 0,04 mg/kg terbufos, malaokson, paration metil, paraokson etil, fenitrotion, bromofos metil, profenofos, etion, azinfos metil, ciflutrin izomer I, ciflutrin izomer II, ciflutrin izomer II, ciflutrin izomer IV, fenvalerat izomer I, fenvalerat izomer II i tetrametrin |  |
| B1 | Vino Wine | Određivanje okratoksina A Determination of ochratoxin A | HRN EN 14133:2010 Modificirana Vlastita metoda In-house method RU-OK-M/23 Izdanje /edition 1/12.2014. HPLC-FLD |
|  | Pivo Beer |  |  |

| Identifikacijska oznaka/ Identification | Materijali/Proizvodi Materials/Products | Vrsta ispitivanja/svojstvo Type of test/Property Granica kvantifikacije Limit of quantification | Metoda ispitivanja/tehnika Test method/ Technique |
| --- | --- | --- | --- |
| C1 | svježavajuća bezalkoholna pića i osvježavajuća bezalkoholna pića s povećanom količinom kofeina i drugim dodacima Non-alcoholic beverages and energy drinks | Određivanje kofeina Determination of caffeine | HRN EN 12856:200 (EN 12856:1999) HPLC-UV |
| D1 | Žitarice i mlinski proizvodi od žitarica Cereals and milled cereal products | Određivanje vode Determination of moisture | HRN EN ISO 712:2010 (ISO 712:2009; EN ISO 712:2009) AOAC, 18th Ed., 2005 Official method No. 931.04* ISO 1442:1997 gravimetrija gravimetric determination |
|  | Kakaovo zrno i kakaovi proizvodi Cacao bean and its products |  |  |
|  | ###### Meso i mesni proizvodi Meat and meat products |  |  |
|  | Žitarice i mlinski proizvodi od žitarica Cereals and milled cereal products | Određivanje pepela Determination of ash | HRN EN ISO 2171:2010 (ISO 2171:2007, EN ISO 2171:2010) AOAC, 18th Ed., 2005 Official method No. 920.181 AOAC, 18th Ed., 2005 Official method No. 972.15* gravimetrija gravimetric detrmination |
|  | ###### Med Honey |  |  |
|  | Kakaovo zrno i kakaovi proizvodi Cacao bean and its products |  |  |
|  | Kakaovo zrno i kakaovi proizvodi Cacao bean and its products | Određivanje ukupne količine masti Determination of total fat | AOAC, 18th Ed., 2005 Official method No. 963.15* HRN ISO 1443:1999 (ISO 1443:1973) Soxhlet |
|  | ###### Meso i mesni proizvodi Meat and meat products |  |  |

Izdanje 4, 02.10.2015.

* Uz pripremu ispitnih uzoraka prema / With preparation of test samples according to

AOAC, 18th Ed., 2005 Official method No. 970.20

Kratice / Abbreviations

GC/MS: plinska kromatografija-spektrometrija masa / Gas chromatography-mass spectrometry

HPLC: tekućinska kromatografija visoke djelotvornosti / High-performance liquid chromatography

HPLC-FLD: tekućinska kromatografija visoke djelotvornosti uz flouorescentnu detekciju /

High-performance liquid chromatography with fluorescence detection

HPLC-UV: tekućinska kromatografija visoke djelotvornosti uz UV detekciju

High-performance liquid chromatography with UV detection